ADDENDUM

Peoria Park District 		ADDENDUM NO.   ONE

Bradley Park Equipment Service Center

1314 N. Park Road	PROJECT TITLE:  Roof Replacement

Peoria, IL  61604                         				Trewyn Park Pavilion

Telephone:  (309) 686-3386

ISSUANCE DATE:  May 25, 2016

The proposed Contract Documents for this Work are modified as follows:

I.	DRAWINGS:

Sheet 1.0 Notes: The note referring to the assumption of 500 SF of tuckpointing refers only to those areas currently covered by roofing materials/ cant strips. All visible areas of tuckpointing required above the upper roof line shall be considered a part of the base bid. Any tuckpointing needed that is currently hidden behind cant strips in excess of 500 SF shall be by contractor proposal after exposure. Contractor shall also assume a total of 10 replacement bricks for areas covered by cant strips. If additional replacements are needed, contractor shall prepare proposal after exposure.

II.	PROJECT MANUAL/SPECIFICATIONS/GENERAL CONDITIONS/ETC.:

None

III.	INVITATION TO BID:

The bidding period has been extended by one week. Bids are now due on Tuesday, June 7, at 9:30 a.m.

Addendum No. ONE

Page 1 of 1

End of Addendum #1